## strategy_A_kobs_to_k2_app
electrophile_type | nu_id | nu_name | ha_initial_pH | pH_corr_ionize_mean | pH_corr_ionize_abs_drift_max | k_obs_values_used | n_selected | n_inliers | n_outliers | outlier_entries | k2_app | k2_app_lo95 | k2_app_hi95 | k2_app_rel_ci_width | k0 | k0_lo95 | k0_hi95 | r2 | rmse | analysis_success | failure_reason
P6 | Nu11 | 4-morpholinopyridine | 6.48 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 6.96 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 7.47 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 8.02 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 11.89 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 12.55 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 12.87 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu11 | 4-morpholinopyridine | 13.31 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu18 | piperazine | 6.48 | 7.1755 | 1.0894 | preferred plus linear fallback | 6 | 6 | 0 |  | 0.00011801 | -1.1734e-05 | 0.00021236 | 1.899 | 5.5282e-07 | 5.0896e-07 | 5.8776e-07 | 0.41801 | 3.1591e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu18 | piperazine | 6.96 | 7.413 | 0.63874 | initial_rate_exp_derivative only | 5 | 5 | 0 |  | 0.00025139 | 0.00024112 | 0.00027512 | 0.13526 | 4.691e-07 | 4.6171e-07 | 4.7294e-07 | 0.99257 | 3.128e-09 | TRUE
P6 | Nu18 | piperazine | 7.47 | 8.1832 | 1.6596 | preferred plus linear fallback | 6 | 5 | 1 | F13 | 2.1141e-06 | 1.2483e-06 | 5.2728e-06 | 1.9037 | 5.5145e-07 | 5.1206e-07 | 5.6623e-07 | 0.31493 | 2.7057e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu18 | piperazine | 8.02 | 9.427 | 2.06 | linear fallback only | 6 | 6 | 0 |  | 4.3253e-06 | 3.4575e-06 | 6.1533e-06 | 0.62325 | 3.7028e-07 | 3.362e-07 | 4.257e-07 | 0.85983 | 3.9463e-08 | TRUE
P6 | Nu18 | piperazine | 11.89 | 11.762 | 0.13056 | linear fallback only | 6 | 6 | 0 |  | 3.1548e-06 | 1.3315e-06 | 3.9928e-06 | 0.84356 | 3.0567e-07 | 2.2588e-07 | 3.7564e-07 | 0.79243 | 3.7108e-08 | TRUE
P6 | Nu18 | piperazine | 12.55 | 12.2586 | 0.29181 | linear fallback only | 6 | 4 | 2 | D19, D20 | 3.2824e-06 | 3.2198e-06 | 3.3554e-06 | 0.041308 | 2.685e-07 | 2.6229e-07 | 2.7208e-07 | 0.99941 | 1.6441e-09 | TRUE
P6 | Nu18 | piperazine | 12.87 | 12.4525 | 0.41776 | linear fallback only | 6 | 6 | 0 |  | 3.9452e-06 | 2.8845e-06 | 4.2956e-06 | 0.35767 | 2.6826e-07 | 2.3682e-07 | 3.1615e-07 | 0.93712 | 2.335e-08 | TRUE
P6 | Nu18 | piperazine | 13.31 | 12.757 | 0.55304 | linear fallback only | 6 | 6 | 0 |  | 5.332e-06 | 3.7938e-06 | 6.0618e-06 | 0.42534 | 2.8395e-07 | 2.3121e-07 | 3.5917e-07 | 0.9233 | 3.5702e-08 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 6.48 | 9.5604 | 5.6874 | initial_rate_exp_derivative only | 4 | 4 | 0 |  | 6.0282e-07 | -1.125e-06 | 1.4853e-06 | 4.33 | 3.9457e-07 | 3.465e-07 | 4.7631e-07 | -0.0093936 | 5.4208e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 6.96 | 9.925 | 5.4213 | initial_rate_exp_derivative only | 4 | 4 | 0 |  | 5.9991e-07 | -8.0255e-07 | 9.4655e-07 | 2.9156 | 4.3469e-07 | 4.0669e-07 | 4.4184e-07 | -0.15124 | 4.1119e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 7.47 | 10.3532 | 5.2411 | linear fallback only | 6 | 6 | 0 |  | -4.2666e-07 | -5.4631e-07 | -1.3205e-07 | 0.97093 | 3.9697e-07 | 3.9086e-07 | 4.0511e-07 | 0.66776 | 1.0788e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 8.02 | 9.8555 | 2.6278 | linear fallback only | 6 | 6 | 0 |  | 6.4384e-07 | -5.8001e-07 | 9.8857e-07 | 2.4363 | 3.7076e-07 | 3.53e-07 | 3.9683e-07 | 0.27348 | 1.9006e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 11.89 | 9.1632 | 4.6266 | initial_rate_exp_derivative only | 5 | 5 | 0 |  | -1.1198e-06 | -3.1957e-06 | -1.3309e-07 | 2.7348 | 4.3891e-07 | 4.0421e-07 | 5.094e-07 | 0.24171 | 4.7058e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 12.55 | 10.0029 | 4.7771 | initial_rate_exp_derivative only | 4 | 4 | 0 |  | 5.3758e-07 | 1.1894e-07 | 8.5327e-07 | 1.366 | 3.6857e-07 | 3.5957e-07 | 3.7671e-07 | 0.5762 | 9.3785e-09 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 12.87 | 9.9252 | 4.1409 | initial_rate_exp_derivative only | 4 | 4 | 0 |  | 2.8312e-06 | -1.8511e-07 | 3.5814e-06 | 1.3304 | 3.5918e-07 | 3.3373e-07 | 4.091e-07 | 0.56021 | 3.1096e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | n-methylpyrrolidine | 13.31 | 12.7575 | 0.55279 | initial_rate_exp_derivative only | 5 | 5 | 0 |  | -2.2093e-07 | -1.2283e-06 | 1.0742e-06 | 10.4218 | 4.7636e-07 | 3.9335e-07 | 5.2819e-07 | 0.02243 | 3.4439e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 6.48 | 6.4773 | 0.0032123 | exponential only | 5 | 4 | 1 | A4 | 0.0020139 | -0.0024581 | 0.002573 | 2.4982 | 3.1423e-06 | 3.1125e-06 | 3.3005e-06 | -0.59671 | 4.4039e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 6.96 | 6.9768 | 0.017829 | preferred mixed: exponential + initial_rate_exp_derivative | 6 | 6 | 0 |  | 0.034374 | 0.0098608 | 0.078575 | 1.999 | -1.7648e-06 | -6.7583e-06 | 2.0024e-06 | 0.36316 | 2.3829e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 7.47 | 7.4848 | 0.017469 | preferred plus linear fallback | 6 | 6 | 0 |  | -0.00014894 | -0.00038297 | -1.5998e-05 | 2.464 | 5.7099e-07 | 5.4008e-07 | 7.0871e-07 | 0.28231 | 4.0541e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 8.02 | 8.0048 | 0.027971 | preferred plus linear fallback | 6 | 4 | 2 | G1, G6 | 0.00010679 | 7.843e-05 | 0.0001252 | 0.43802 | 8.1525e-07 | 7.8165e-07 | 8.4623e-07 | 0.94755 | 8.0755e-09 | TRUE
P6 | Nu25 | n-acetylcysteine | 11.89 | 11.3063 | 0.89786 | preferred plus linear fallback | 4 | 4 | 0 |  | 6.3717e-06 | -6.3895e-05 | 0.00019357 | 40.407 | 2.6075e-06 | -3.0211e-06 | 6.6559e-06 | -0.062608 | 1.7816e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 12.55 | 11.9454 | 0.66949 | preferred plus linear fallback | 3 | 3 | 0 |  | 0.00020284 | 0.00018484 | 0.00022109 | 0.17872 | -5.397e-06 | -6.2936e-06 | -4.1216e-06 | 0.99382 | 1.2957e-07 | TRUE
P6 | Nu25 | n-acetylcysteine | 12.87 | 12.2171 | 0.69837 | linear fallback only | 3 | 3 | 0 |  | -1.7038e-05 | -2.5772e-05 | -8.4308e-06 | 1.0178 | 5.8497e-06 | 5.2452e-06 | 6.2787e-06 | 0.81312 | 6.409e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | n-acetylcysteine | 13.31 | 12.6475 | 0.72938 | linear fallback only | 6 | 5 | 1 | G8 | -1.0802e-05 | -2.0851e-05 | 1.5788e-05 | 3.3919 | 1.0181e-05 | 8.5177e-06 | 1.0419e-05 | -0.010714 | 3.4616e-07 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | phenol | 6.48 | 8.9561 | 5.0849 | initial_rate_exp_derivative only | 6 | 4 | 2 | I15, I17 | -5.2445e-07 | -6.7922e-07 | -4.713e-07 | 0.39646 | 4.6987e-07 | 4.6281e-07 | 4.7091e-07 | 0.95602 | 4.6448e-09 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | phenol | 6.96 | 10.4216 | 5.2077 | preferred mixed: exponential + initial_rate_exp_derivative | 3 | 3 | 0 |  | 1.6517e-05 | 1.3405e-05 | 2.3374e-05 | 0.60357 | 3.3299e-07 | -7.2609e-08 | 3.5846e-07 | 0.94837 | 1.1266e-07 | TRUE
P6 | Nu26 | phenol | 7.47 | 9.0939 | 4.8344 | linear fallback only | 3 | 3 | 0 |  | 3.2331e-07 | 2.9293e-07 | 3.5377e-07 | 0.18817 | 3.9152e-07 | 3.8849e-07 | 3.9455e-07 | 0.97118 | 2.61e-09 | TRUE
P6 | Nu26 | phenol | 8.02 | 10.8212 | 4.6912 | preferred plus linear fallback | 5 | 5 | 0 |  | 1.6169e-08 | -1.2689e-07 | 2.4528e-07 | 23.0179 | 3.9012e-07 | 3.8634e-07 | 4.0563e-07 | -0.051063 | 8.9187e-09 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | phenol | 11.89 | 7.0037 | 4.9633 | initial_rate_exp_derivative only | 3 | 3 | 0 |  | 0.00084297 | 0.00076523 | 0.00088318 | 0.13992 | 1.4006e-06 | 1.3959e-06 | 1.4047e-06 | 0.99775 | 1.2862e-09 | TRUE
P6 | Nu26 | phenol | 12.55 | 9.6392 | 5.2861 | exponential only | 6 | 6 | 0 |  | 5.6811e-07 | -7.5029e-06 | 6.9455e-06 | 25.4325 | 1.6359e-06 | 1.4135e-06 | 1.8132e-06 | 0.0033146 | 1.8594e-07 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | phenol | 12.87 | 10.0391 | 5.0951 | exponential only | 6 | 6 | 0 |  | -1.0427e-05 | -1.9228e-05 | -3.3998e-06 | 1.518 | 1.8847e-06 | 1.6881e-06 | 1.9737e-06 | 0.44407 | 2.0627e-07 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | phenol | 13.31 | 10.9677 | 4.4956 | preferred mixed: exponential + initial_rate_exp_derivative | 6 | 5 | 1 | O19 | -3.7091e-06 | -1.2808e-05 | 6.6815e-06 | 5.2545 | 1.7248e-06 | 1.4895e-06 | 1.8537e-06 | 0.025614 | 2.6965e-07 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 6.48 | 9.5599 | 5.2929 | linear fallback only | 6 | 6 | 0 |  | 5.7958e-07 | 1.3485e-07 | 1.2407e-06 | 1.908 | 3.3015e-07 | 2.9233e-07 | 3.5402e-07 | 0.37682 | 2.4854e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 6.96 | 9.9675 | 5.3006 | linear fallback only | 6 | 4 | 2 | L1, L5 | 1.1043e-07 | 6.984e-08 | 1.7128e-07 | 0.91862 | 3.7456e-07 | 3.7268e-07 | 3.7664e-07 | 0.76464 | 1.8659e-09 | TRUE
P6 | Nu27 | 4-methylphenol | 7.47 | 10.5744 | 4.9835 | linear fallback only | 6 | 5 | 1 | N4 | 1.302e-07 | 3.6821e-08 | 4.2981e-07 | 3.0183 | 3.9199e-07 | 3.7203e-07 | 3.9435e-07 | 0.1694 | 1.0363e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 8.02 | 11.5708 | 4.7374 | linear fallback only | 6 | 6 | 0 |  | -2.0989e-07 | -4.5593e-07 | 4.9591e-07 | 4.5348 | 4.3126e-07 | 4.0731e-07 | 4.4324e-07 | -0.037584 | 1.6004e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 11.89 | 9.3821 | 4.9117 | linear fallback only | 4 | 4 | 0 |  | -3.481e-05 | -5.2533e-05 | -2.3353e-05 | 0.83826 | 4.5434e-06 | 4.2149e-06 | 4.8014e-06 | 0.80104 | 3.0189e-07 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 12.55 | 9.8756 | 5.0616 | preferred mixed: exponential + initial_rate_exp_derivative | 6 | 4 | 2 | L7, L8 | -2.4054e-05 | -2.6211e-05 | -2.1574e-05 | 0.19279 | 2.813e-06 | 2.7158e-06 | 2.8984e-06 | 0.95885 | 8.5249e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 12.87 | 9.7967 | 4.847 | exponential only | 5 | 3 | 2 | N8, N9 | 0.00073298 | -0.00016783 | 0.0017471 | 2.6125 | 2.6141e-06 | 2.2195e-06 | 2.8897e-06 | 0.52418 | 3.2085e-08 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 4-methylphenol | 13.31 | 12.6684 | 0.72876 | exponential only | 5 | 5 | 0 |  | 4.5885e-05 | 2.9072e-05 | 6.3756e-05 | 0.75589 | 3.9936e-07 | -2.3454e-07 | 1.4606e-06 | 0.85588 | 2.64e-07 | TRUE
P6 | Nu28 | 4-methoxyphenol | 6.48 | 6.478 | 0.0020829 | linear fallback only | 4 | 4 | 0 |  | 0.042973 | 0.037723 | 0.045327 | 0.17693 | 3.3688e-07 | 3.2275e-07 | 4.1205e-07 | 0.99124 | 1.5912e-08 | TRUE
P6 | Nu28 | 4-methoxyphenol | 6.96 | 9.964 | 5.2984 | linear fallback only | 6 | 6 | 0 |  | 2.5268e-05 | 1.8046e-05 | 3.1265e-05 | 0.52313 | 1.372e-06 | 1.0515e-06 | 1.7016e-06 | 0.87582 | 2.8542e-07 | TRUE
P6 | Nu28 | 4-methoxyphenol | 7.47 | 10.4816 | 4.9824 | preferred plus linear fallback | 6 | 6 | 0 |  | 8.4995e-05 | 5.843e-05 | 0.00010365 | 0.53206 | 3.7227e-06 | 2.6785e-06 | 4.7571e-06 | 0.87728 | 9.3684e-07 | TRUE
P6 | Nu28 | 4-methoxyphenol | 8.02 | 10.5568 | 4.737 | initial_rate_exp_derivative only | 4 | 4 | 0 |  | 0.00034896 | 0.00024236 | 0.00064075 | 1.1416 | 1.1771e-05 | 7.957e-06 | 1.6172e-05 | 0.81897 | 2.829e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 4-methoxyphenol | 11.89 | 11.4243 | 0.61395 | exponential only | 3 | 3 | 0 |  | 0.0003723 | 0.0002856 | 0.00046556 | 0.48335 | 3.499e-06 | -8.1002e-08 | 5.1318e-06 | 0.95645 | 5.8965e-07 | TRUE
P6 | Nu28 | 4-methoxyphenol | 12.55 | 9.6187 | 5.5716 | exponential only | 6 | 5 | 1 | K7 | -0.00010829 | -0.00020397 | -9.1001e-05 | 1.0432 | 1.4554e-05 | 1.3762e-05 | 1.4863e-05 | 0.71613 | 1.3715e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 4-methoxyphenol | 12.87 | 9.9708 | 5.3811 | exponential only | 6 | 6 | 0 |  | -0.00012385 | -0.00026742 | -7.2666e-05 | 1.5725 | 1.1961e-05 | 1.0254e-05 | 1.4784e-05 | 0.50911 | 2.2172e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 4-methoxyphenol | 13.31 | 10.3919 | 5.2844 | exponential only | 6 | 6 | 0 |  | -8.1472e-05 | -0.00015326 | -4.209e-05 | 1.3645 | 1.0172e-05 | 8.7193e-06 | 1.0808e-05 | 0.58038 | 1.1268e-06 | FALSE | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu29 | 4-chlorophenol | 6.48 | 6.926 | 0.44599 | insufficient usable points | 1 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 6.96 | 7.2181 | 0.30267 | insufficient usable points | 2 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 7.47 | 7.6712 | 0.2012 | insufficient usable points | 1 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 8.02 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 11.89 | 11.7574 | 0.13258 | insufficient usable points | 1 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 12.55 | 12.2579 | 0.29214 | insufficient usable points | 1 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 12.87 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels
P6 | Nu29 | 4-chlorophenol | 13.31 |  |  | insufficient usable points | 0 | [12 empty] | FALSE | insufficient points or concentration levels

## strategy_A_selection_audit
electrophile_type | nu_id | ha_initial_pH | selected_candidate | raw_k_obs_sources_in_selected_fit | candidate_summary | n_distinct_nu_free | pH_corr_ionize_abs_drift_mean | strict_r2_ge_0_90 | outlier_entries | failure_reason
P6 | Nu11 | 6.48 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 6.96 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 7.47 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 8.02 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 11.89 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 12.55 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 12.87 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu11 | 13.31 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu18 | 6.48 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | initial_rate_exp_derivative only: k2_app=-4.00e-09, k2_app_lo95=-2.98e-04, relCI=175847.17, R2=-0.036, n=5/5, fail; preferred plus linear fallback: k2_app=1.18e-04, k2_app_lo95=-1.17e-05, relCI=1.90, R2=0.418, n=6/6, fail | 6 | 0.69549 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu18 | 6.96 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=2.51e-04, k2_app_lo95=2.41e-04, relCI=0.14, R2=0.993, n=5/5, pass; preferred plus linear fallback: k2_app=9.36e-05, k2_app_lo95=8.31e-05, relCI=0.65, R2=0.940, n=5/6, pass | 5 | 0.45296 | TRUE
P6 | Nu18 | 7.47 | preferred plus linear fallback | exponential, initial_rate_exp_derivative, initial_rate_linear_fallback | initial_rate_exp_derivative only: k2_app=1.49e-05, k2_app_lo95=-8.11e-06, relCI=4.12, R2=0.173, n=4/4, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=1.58e-05, k2_app_lo95=-8.45e-06, relCI=4.05, R2=0.174, n=4/5, fail; preferred plus linear fallback: k2_app=2.11e-06, k2_app_lo95=1.25e-06, relCI=1.90, R2=0.315, n=5/6, fail | 6 | 0.71319 | FALSE | F13 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu18 | 8.02 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=4.33e-06, k2_app_lo95=3.46e-06, relCI=0.62, R2=0.860, n=6/6, pass | 6 | 1.407 | FALSE
P6 | Nu18 | 11.89 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=3.15e-06, k2_app_lo95=1.33e-06, relCI=0.84, R2=0.792, n=6/6, pass | 6 | 0.128 | FALSE
P6 | Nu18 | 12.55 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=3.28e-06, k2_app_lo95=3.22e-06, relCI=0.04, R2=0.999, n=4/6, pass | 6 | 0.29138 | TRUE | D19, D20
P6 | Nu18 | 12.87 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=3.95e-06, k2_app_lo95=2.88e-06, relCI=0.36, R2=0.937, n=6/6, pass | 6 | 0.41754 | TRUE
P6 | Nu18 | 13.31 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=5.33e-06, k2_app_lo95=3.79e-06, relCI=0.43, R2=0.923, n=6/6, pass | 6 | 0.55296 | TRUE
P6 | Nu20 | 6.48 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=6.03e-07, k2_app_lo95=-1.12e-06, relCI=4.33, R2=-0.009, n=4/4, fail; preferred plus linear fallback: k2_app=-3.03e-07, k2_app_lo95=-1.32e-06, relCI=7.73, R2=0.017, n=6/6, fail | 4 | 3.0804 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 6.96 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=6.00e-07, k2_app_lo95=-8.03e-07, relCI=2.92, R2=-0.151, n=4/4, fail; preferred plus linear fallback: k2_app=-4.94e-07, k2_app_lo95=-7.63e-07, relCI=0.82, R2=0.765, n=5/6, fail | 4 | 2.965 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 7.47 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=-4.27e-07, k2_app_lo95=-5.46e-07, relCI=0.97, R2=0.668, n=6/6, fail | 6 | 2.8832 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 8.02 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=6.44e-07, k2_app_lo95=-5.80e-07, relCI=2.44, R2=0.273, n=6/6, fail | 6 | 1.8355 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 11.89 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=-1.12e-06, k2_app_lo95=-3.20e-06, relCI=2.73, R2=0.242, n=5/5, fail; preferred plus linear fallback: k2_app=-1.07e-06, k2_app_lo95=-2.97e-06, relCI=2.87, R2=0.234, n=6/6, fail | 5 | 2.7508 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 12.55 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=5.38e-07, k2_app_lo95=1.19e-07, relCI=1.37, R2=0.576, n=4/4, fail; preferred plus linear fallback: k2_app=3.54e-07, k2_app_lo95=-1.14e-07, relCI=2.34, R2=0.261, n=5/6, fail | 4 | 2.5471 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 12.87 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=2.83e-06, k2_app_lo95=-1.85e-07, relCI=1.33, R2=0.560, n=4/4, fail; preferred plus linear fallback: k2_app=1.49e-06, k2_app_lo95=-4.42e-07, relCI=2.81, R2=0.162, n=6/6, fail | 4 | 2.9448 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu20 | 13.31 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=-2.21e-07, k2_app_lo95=-1.23e-06, relCI=10.42, R2=0.022, n=5/5, fail; preferred plus linear fallback: k2_app=-5.48e-10, k2_app_lo95=-1.17e-06, relCI=4094.35, R2=-0.025, n=6/6, fail | 5 | 0.55246 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 6.48 | exponential only | exponential | exponential only: k2_app=2.01e-03, k2_app_lo95=-2.46e-03, relCI=2.50, R2=-0.597, n=4/5, fail | 5 | 0.0026881 | FALSE | A4 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 6.96 | preferred mixed: exponential + initial_rate_exp_derivative | exponential, initial_rate_exp_derivative | exponential only: k2_app=-6.10e-02, k2_app_lo95=-1.67e-01, relCI=3.52, R2=0.076, n=3/3, fail; initial_rate_exp_derivative only: k2_app=-1.41e-03, k2_app_lo95=-3.61e-03, relCI=3.12, R2=0.160, n=3/3, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=3.44e-02, k2_app_lo95=9.86e-03, relCI=2.00, R2=0.363, n=6/6, fail | 6 | 0.016821 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 7.47 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | linear fallback only: k2_app=-1.42e-04, k2_app_lo95=-4.31e-04, relCI=3.96, R2=0.150, n=5/5, fail; preferred plus linear fallback: k2_app=-1.49e-04, k2_app_lo95=-3.83e-04, relCI=2.46, R2=0.282, n=6/6, fail | 6 | 0.014813 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 8.02 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | linear fallback only: k2_app=1.64e-05, k2_app_lo95=-7.72e-05, relCI=10.86, R2=-0.010, n=5/5, fail; preferred plus linear fallback: k2_app=1.07e-04, k2_app_lo95=7.84e-05, relCI=0.44, R2=0.948, n=4/6, pass | 6 | 0.015154 | TRUE | G1, G6
P6 | Nu25 | 11.89 | preferred plus linear fallback | exponential, initial_rate_exp_derivative, initial_rate_linear_fallback | preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-1.47e-05, k2_app_lo95=-2.21e-04, relCI=24.24, R2=-0.212, n=3/3, fail; preferred plus linear fallback: k2_app=6.37e-06, k2_app_lo95=-6.39e-05, relCI=40.41, R2=-0.063, n=4/4, fail | 4 | 0.58372 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 12.55 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | preferred plus linear fallback: k2_app=2.03e-04, k2_app_lo95=1.85e-04, relCI=0.18, R2=0.994, n=3/3, pass | 3 | 0.60464 | TRUE
P6 | Nu25 | 12.87 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=-1.70e-05, k2_app_lo95=-2.58e-05, relCI=1.02, R2=0.813, n=3/3, fail | 3 | 0.65287 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu25 | 13.31 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=-1.08e-05, k2_app_lo95=-2.09e-05, relCI=3.39, R2=-0.011, n=5/6, fail | 6 | 0.66251 | FALSE | G8 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | 6.48 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=-5.24e-07, k2_app_lo95=-6.79e-07, relCI=0.40, R2=0.956, n=4/6, fail | 6 | 2.478 | TRUE | I15, I17 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | 6.96 | preferred mixed: exponential + initial_rate_exp_derivative | exponential, initial_rate_exp_derivative | preferred mixed: exponential + initial_rate_exp_derivative: k2_app=1.65e-05, k2_app_lo95=1.34e-05, relCI=0.60, R2=0.948, n=3/3, pass; linear fallback only: k2_app=2.39e-07, k2_app_lo95=-2.46e-07, relCI=4.08, R2=0.068, n=3/3, fail; preferred plus linear fallback: k2_app=9.04e-06, k2_app_lo95=-6.66e-07, relCI=1.83, R2=0.114, n=6/6, fail | 3 | 3.4616 | TRUE
P6 | Nu26 | 7.47 | linear fallback only | initial_rate_linear_fallback | initial_rate_exp_derivative only: k2_app=4.89e-07, k2_app_lo95=2.48e-07, relCI=1.50, R2=0.719, n=3/3, fail; linear fallback only: k2_app=3.23e-07, k2_app_lo95=2.93e-07, relCI=0.19, R2=0.971, n=3/3, pass; preferred plus linear fallback: k2_app=3.41e-07, k2_app_lo95=2.69e-07, relCI=0.73, R2=0.795, n=6/6, pass | 3 | 1.6239 | TRUE
P6 | Nu26 | 8.02 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | linear fallback only: k2_app=-6.09e-09, k2_app_lo95=-4.22e-08, relCI=18.53, R2=-0.034, n=4/4, fail; preferred plus linear fallback: k2_app=1.62e-08, k2_app_lo95=-1.27e-07, relCI=23.02, R2=-0.051, n=5/5, fail | 5 | 2.8012 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | 11.89 | initial_rate_exp_derivative only | initial_rate_exp_derivative | exponential only: k2_app=-6.37e-05, k2_app_lo95=-6.54e-05, relCI=0.05, R2=1.000, n=3/3, fail; initial_rate_exp_derivative only: k2_app=8.43e-04, k2_app_lo95=7.65e-04, relCI=0.14, R2=0.998, n=3/3, pass; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-1.06e-06, k2_app_lo95=-1.91e-06, relCI=1.43, R2=0.288, n=4/6, fail | 3 | 4.8863 | TRUE
P6 | Nu26 | 12.55 | exponential only | exponential | exponential only: k2_app=5.68e-07, k2_app_lo95=-7.50e-06, relCI=25.43, R2=0.003, n=6/6, fail | 6 | 2.9108 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | 12.87 | exponential only | exponential | exponential only: k2_app=-1.04e-05, k2_app_lo95=-1.92e-05, relCI=1.52, R2=0.444, n=6/6, fail | 6 | 2.8309 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu26 | 13.31 | preferred mixed: exponential + initial_rate_exp_derivative | exponential, initial_rate_exp_derivative | exponential only: k2_app=-3.58e-06, k2_app_lo95=-1.35e-05, relCI=5.62, R2=0.027, n=5/5, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-3.71e-06, k2_app_lo95=-1.28e-05, relCI=5.25, R2=0.026, n=5/6, fail | 6 | 2.3423 | FALSE | O19 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 6.48 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=5.80e-07, k2_app_lo95=1.35e-07, relCI=1.91, R2=0.377, n=6/6, fail | 6 | 3.0799 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 6.96 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=1.10e-07, k2_app_lo95=6.98e-08, relCI=0.92, R2=0.765, n=4/6, pass | 6 | 3.0075 | FALSE | L1, L5
P6 | Nu27 | 7.47 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=1.30e-07, k2_app_lo95=3.68e-08, relCI=3.02, R2=0.169, n=5/6, fail | 6 | 3.1044 | FALSE | N4 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 8.02 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=-2.10e-07, k2_app_lo95=-4.56e-07, relCI=4.53, R2=-0.038, n=6/6, fail | 6 | 3.5508 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 11.89 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=-3.48e-05, k2_app_lo95=-5.25e-05, relCI=0.84, R2=0.801, n=4/4, fail; preferred plus linear fallback: k2_app=-2.28e-05, k2_app_lo95=-8.13e-05, relCI=5.24, R2=-0.089, n=6/6, fail | 4 | 2.5079 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 12.55 | preferred mixed: exponential + initial_rate_exp_derivative | exponential, initial_rate_exp_derivative | exponential only: k2_app=-2.78e-05, k2_app_lo95=-4.17e-05, relCI=0.67, R2=0.851, n=5/5, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-2.41e-05, k2_app_lo95=-2.62e-05, relCI=0.19, R2=0.959, n=4/6, fail | 6 | 2.6744 | TRUE | L7, L8 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 12.87 | exponential only | exponential | exponential only: k2_app=7.33e-04, k2_app_lo95=-1.68e-04, relCI=2.61, R2=0.524, n=3/5, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-1.76e-05, k2_app_lo95=-1.94e-05, relCI=0.12, R2=0.980, n=4/6, fail | 5 | 3.0733 | FALSE | N8, N9 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu27 | 13.31 | exponential only | exponential | exponential only: k2_app=4.59e-05, k2_app_lo95=2.91e-05, relCI=0.76, R2=0.856, n=5/5, pass; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=4.59e-05, k2_app_lo95=2.73e-05, relCI=0.79, R2=0.860, n=5/6, pass | 5 | 0.64156 | FALSE
P6 | Nu28 | 6.48 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=4.30e-02, k2_app_lo95=3.77e-02, relCI=0.18, R2=0.991, n=4/4, pass; preferred plus linear fallback: k2_app=4.66e-02, k2_app_lo95=4.13e-02, relCI=0.25, R2=0.976, n=6/6, pass | 4 | 0.0019532 | TRUE
P6 | Nu28 | 6.96 | linear fallback only | initial_rate_linear_fallback | linear fallback only: k2_app=2.53e-05, k2_app_lo95=1.80e-05, relCI=0.52, R2=0.876, n=6/6, pass | 6 | 3.004 | FALSE
P6 | Nu28 | 7.47 | preferred plus linear fallback | initial_rate_exp_derivative, initial_rate_linear_fallback | linear fallback only: k2_app=5.70e-05, k2_app_lo95=3.90e-05, relCI=1.56, R2=0.638, n=4/4, fail; preferred plus linear fallback: k2_app=8.50e-05, k2_app_lo95=5.84e-05, relCI=0.53, R2=0.877, n=6/6, pass | 6 | 3.0116 | FALSE
P6 | Nu28 | 8.02 | initial_rate_exp_derivative only | initial_rate_exp_derivative | initial_rate_exp_derivative only: k2_app=3.49e-04, k2_app_lo95=2.42e-04, relCI=1.14, R2=0.819, n=4/4, fail; preferred mixed: exponential + initial_rate_exp_derivative: k2_app=-1.90e-04, k2_app_lo95=-3.66e-04, relCI=2.87, R2=0.111, n=6/6, fail | 4 | 2.5368 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 11.89 | exponential only | exponential | exponential only: k2_app=3.72e-04, k2_app_lo95=2.86e-04, relCI=0.48, R2=0.956, n=3/3, pass | 3 | 0.46572 | TRUE
P6 | Nu28 | 12.55 | exponential only | exponential | exponential only: k2_app=-1.08e-04, k2_app_lo95=-2.04e-04, relCI=1.04, R2=0.716, n=5/6, fail | 6 | 2.9313 | FALSE | K7 | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 12.87 | exponential only | exponential | exponential only: k2_app=-1.24e-04, k2_app_lo95=-2.67e-04, relCI=1.57, R2=0.509, n=6/6, fail | 6 | 2.8992 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu28 | 13.31 | exponential only | exponential | exponential only: k2_app=-8.15e-05, k2_app_lo95=-1.53e-04, relCI=1.36, R2=0.580, n=6/6, fail | 6 | 2.9181 | FALSE |  | no method subset reached k2_app > 0, k2_app_lo95 > 0, R2 >= 0.50, and relative CI width <= 1.0
P6 | Nu29 | 6.48 | insufficient usable points | initial_rate_linear_fallback |  | 1 | 0.44599 |  |  | insufficient points or concentration levels
P6 | Nu29 | 6.96 | insufficient usable points | initial_rate_linear_fallback |  | 2 | 0.25809 |  |  | insufficient points or concentration levels
P6 | Nu29 | 7.47 | insufficient usable points | initial_rate_linear_fallback |  | 1 | 0.2012 |  |  | insufficient points or concentration levels
P6 | Nu29 | 8.02 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu29 | 11.89 | insufficient usable points | exponential |  | 1 | 0.13258 |  |  | insufficient points or concentration levels
P6 | Nu29 | 12.55 | insufficient usable points | exponential |  | 1 | 0.29214 |  |  | insufficient points or concentration levels
P6 | Nu29 | 12.87 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels
P6 | Nu29 | 13.31 | insufficient usable points |  |  | 0 |  |  |  | insufficient points or concentration levels

## strategy_A_ph_rate
electrophile_type | nu_id | nu_name | electrophile_pKa | n_successful_k2_app | n_low_region_points | n_transition_region_points | n_high_region_points | k2_low_constrained_by_data | k2_low | k2_low_lo95 | k2_low_hi95 | k2_high | k2_high_lo95 | k2_high_hi95 | high_pH_k2_app_mean | high_pH_k2_app_median | high_pH_k2_app_sd | high_pH_k2_app_n | r2_log | rmse_log | fit_success | failure_reason | plot_path
P6 | Nu18 | piperazine | 5.72 | 6 | 0 | 0 | 6 | FALSE | 0.011562 | 0.0057583 | 0.012404 | 3.5258e-06 | 3.1597e-06 | 4.3452e-06 | 4.5239e-05 | 4.1353e-06 | 0.000101 | 6 | 0.97993 | 0.095932 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_A_ph_rate_Nu18_P6.png
P6 | Nu25 | n-acetylcysteine | 5.72 | 2 | 0 | 0 | 2 | FALSE | [6 empty] | 0.00015482 | 0.00015482 | 6.7924e-05 | 2 |  |  | FALSE | missing pKa or fewer than three successful k2_app values
P6 | Nu26 | phenol | 5.72 | 3 | 0 | 0 | 3 | FALSE | 0.0081522 | 0.00029171 | 0.01616 | 5.1107e-06 | 9.6176e-08 | 1.487e-05 | 0.0002866 | 1.6517e-05 | 0.00048189 | 3 | 0.59404 | 0.8886 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_A_ph_rate_Nu26_P6.png
P6 | Nu27 | 4-methylphenol | 5.72 | 2 | 0 | 0 | 2 | FALSE | [6 empty] | 2.2998e-05 | 2.2998e-05 | 3.2367e-05 | 2 |  |  | FALSE | missing pKa or fewer than three successful k2_app values
P6 | Nu28 | 4-methoxyphenol | 5.72 | 4 | 0 | 1 | 3 | FALSE | 0.25829 | 0.085442 | 0.28532 | 9.0487e-05 | 2.4664e-05 | 0.00029795 | 0.00016085 | 8.4995e-05 | 0.00018553 | 3 | 0.87316 | 0.43668 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_A_ph_rate_Nu28_P6.png

## strategy_B_global
electrophile_type | nu_id | nu_name | electrophile_pKa | n_selected_k_obs | n_pH_groups | n_low_region_rows | n_transition_region_rows | n_high_region_rows | k2_low | k2_low_lo95 | k2_low_hi95 | k2_high | k2_high_lo95 | k2_high_hi95 | r2_log | rmse_log | n_fit_inliers | n_fit_outliers | fit_success | failure_reason | plot_path | ph_rate_profile_plot_path
P6 | Nu18 | piperazine | 5.72 | 45 | 8 | 0 | 0 | 45 | 0.0045617 | 0.00068743 | 0.0094538 | 3.6097e-06 | 3.1314e-06 | 4.0747e-06 | 0.86648 | 0.029162 | 43 | 2 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu18_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu18_P6.png
P6 | Nu20 | n-methylpyrrolidine | 5.72 | 38 | 8 | 0 | 0 | 38 | 5.2473e-13 | 7.2721e-26 | 0.0034488 | 1.0063e-30 | 7.792e-28 | 3.6437e-07 | 0.35926 | 0.038548 | 38 | 0 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu20_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu20_P6.png
P6 | Nu25 | n-acetylcysteine | 5.72 | 38 | 8 | 0 | 5 | 33 | 4.8436e-15 | 1.0002e-30 | 0.0080456 | 2.1472e-06 | 3.2975e-28 | 7.8786e-05 | 0.97833 | 0.06765 | 33 | 5 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu25_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu25_P6.png
P6 | Nu26 | phenol | 5.72 | 41 | 8 | 0 | 3 | 38 | 7.1576e-28 | 2.3976e-29 | 5.4326e-16 | 6.5837e-23 | 6.9613e-26 | 5.7805e-08 | 0.97167 | 0.048725 | 37 | 4 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu26_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu26_P6.png
P6 | Nu27 | 4-methylphenol | 5.72 | 48 | 8 | 0 | 0 | 48 | 0.0035711 | 4.2721e-15 | 0.0073981 | 1.044e-19 | 2.9868e-29 | 1.6624e-07 | 0.96429 | 0.082008 | 42 | 6 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu27_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu27_P6.png
P6 | Nu28 | 4-methoxyphenol | 5.72 | 45 | 8 | 0 | 6 | 39 | 0.22128 | 1.7982e-10 | 0.29375 | 1.3633e-05 | 3.463e-06 | 3.0517e-05 | 0.91786 | 0.12682 | 42 | 3 | TRUE |  | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_obs_pred_Nu28_P6.png | /Users/robertmayer/Desktop/mayerlab_local/phosphorylation_publ/section5_6_kinetics/P6/S5_NS112/k2_next_step_analysis/plots/strategy_B_global_ph_rate_Nu28_P6.png

## strategy_B_k0_by_pH
electrophile_type | nu_id | nu_name | ha_initial_pH | pH_corr_ionize_mean | k0_global | k0_constrained_by_inliers
P6 | Nu18 | piperazine | 6.48 | 7.0967 | 5.4083e-07 | TRUE
P6 | Nu18 | piperazine | 6.96 | 7.413 | 5.0711e-07 | TRUE
P6 | Nu18 | piperazine | 7.47 | 7.9939 | 5.2245e-07 | TRUE
P6 | Nu18 | piperazine | 8.02 | 9.427 | 3.6398e-07 | TRUE
P6 | Nu18 | piperazine | 11.89 | 11.762 | 2.818e-07 | TRUE
P6 | Nu18 | piperazine | 12.55 | 12.2586 | 2.556e-07 | TRUE
P6 | Nu18 | piperazine | 12.87 | 12.4525 | 2.8242e-07 | TRUE
P6 | Nu18 | piperazine | 13.31 | 12.757 | 3.6686e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 6.48 | 9.5604 | 4.249e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 6.96 | 9.925 | 4.3706e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 7.47 | 10.3532 | 3.8496e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 8.02 | 9.8555 | 3.8507e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 11.89 | 9.1632 | 4.1469e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 12.55 | 10.0029 | 3.7922e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 12.87 | 9.9252 | 3.9418e-07 | TRUE
P6 | Nu20 | n-methylpyrrolidine | 13.31 | 12.7575 | 4.6028e-07 | TRUE
P6 | Nu25 | n-acetylcysteine | 6.48 | 6.4773 | 3.2788e-06 | TRUE
P6 | Nu25 | n-acetylcysteine | 6.96 | 6.9768 | 2.2393e-06 | TRUE
P6 | Nu25 | n-acetylcysteine | 7.47 | 7.4848 | 5.127e-07 | TRUE
P6 | Nu25 | n-acetylcysteine | 8.02 | 8.0048 | 9.1715e-07 | TRUE
P6 | Nu25 | n-acetylcysteine | 11.89 | 11.2667 | 3.1465e-06 | TRUE
P6 | Nu25 | n-acetylcysteine | 12.55 | 11.9454 | 6.6151e-06 | TRUE
P6 | Nu25 | n-acetylcysteine | 12.87 | 12.2171 | 4.6622e-06 | TRUE
P6 | Nu25 | n-acetylcysteine | 13.31 | 12.6475 | 9.1619e-06 | TRUE
P6 | Nu26 | phenol | 6.48 | 8.9561 | 4.2816e-07 | TRUE
P6 | Nu26 | phenol | 6.96 | 10.4216 | 1.0866e-06 | TRUE
P6 | Nu26 | phenol | 7.47 | 10.7378 | 4.0646e-07 | TRUE
P6 | Nu26 | phenol | 8.02 | 10.8212 | 3.93e-07 | TRUE
P6 | Nu26 | phenol | 11.89 | 8.9556 | 1.4593e-06 | TRUE
P6 | Nu26 | phenol | 12.55 | 9.6392 | 1.6401e-06 | TRUE
P6 | Nu26 | phenol | 12.87 | 10.0391 | 1.7195e-06 | TRUE
P6 | Nu26 | phenol | 13.31 | 10.9677 | 1.7277e-06 | TRUE
P6 | Nu27 | 4-methylphenol | 6.48 | 9.5599 | 3.2804e-07 | TRUE
P6 | Nu27 | 4-methylphenol | 6.96 | 9.9675 | 3.8021e-07 | TRUE
P6 | Nu27 | 4-methylphenol | 7.47 | 10.5744 | 3.8319e-07 | TRUE
P6 | Nu27 | 4-methylphenol | 8.02 | 11.5708 | 4.2454e-07 | TRUE
P6 | Nu27 | 4-methylphenol | 11.89 | 9.3805 | 3.5993e-06 | TRUE
P6 | Nu27 | 4-methylphenol | 12.55 | 9.8756 | 2.4216e-06 | TRUE
P6 | Nu27 | 4-methylphenol | 12.87 | 10.2395 | 2.6641e-06 | TRUE
P6 | Nu27 | 4-methylphenol | 13.31 | 12.6833 | 3.0359e-06 | TRUE
P6 | Nu28 | 4-methoxyphenol | 6.48 | 6.478 | 4.5777e-07 | TRUE
P6 | Nu28 | 4-methoxyphenol | 6.96 | 9.964 | 1.3499e-06 | TRUE
P6 | Nu28 | 4-methoxyphenol | 7.47 | 10.4816 | 5.3826e-06 | TRUE
P6 | Nu28 | 4-methoxyphenol | 8.02 | 11.2902 | 1.6431e-05 | TRUE
P6 | Nu28 | 4-methoxyphenol | 11.89 | 11.4243 | 1.3132e-05 | TRUE
P6 | Nu28 | 4-methoxyphenol | 12.55 | 9.6187 | 1.1382e-05 | TRUE
P6 | Nu28 | 4-methoxyphenol | 12.87 | 9.9708 | 9.3252e-06 | TRUE
P6 | Nu28 | 4-methoxyphenol | 13.31 | 10.3919 | 8.3631e-06 | TRUE

## electrophile_pKa
electrophile_type | pKa
P5 | 4.5
P6 | 5.72
P7 | 2.55
P8 | 2.74
P9 | 3.28